## Slide 1: Detector’s vanadium
22mEv
Monitors-1,2
dE = 800
Monitors-1,2
dE = 200

## Slide 2
Validate correct incident energy for sample run N11014
Binning range 726meV
When Ei = 785, DEi =7.6 Phonons?
Chopper peak around 800meV. Doing Ei on Vanadium elastic line.

## Slide 3
Validate correct incident energy using Vanadium run N120270
Binning range 720meV from sample
As sample has strong phonons,
Vanadium may work up to 726
When Ei = 785, DEi =-0.3
Chopper peak around 800meV..

## Slide 4
Chopper peak around 195meV. Calibration (Tube delays) necessary. Histogram mode, poor energy accuracy
Binning range 158 meV
When Ei = 195, DEi = -0.26