## Slide 1: Monitors:
Wrong IDF ?

## Slide 2
Validate correct incident energy for run N15052
Binning range 344 meV
Correct Ei = 401.meV, so that DEi = 0.49 where:
Chopper peak around 400. meV. Calibration necessary.
Use vanadium Ei=401, as elastic line distorted here