## Slide 1: Monitors:
Wrong IDF ?
Calibration with "detector_102_libisis.nxs"
makes no difference to monitors signal position
or elastic line position. Data arrive calibrated by
control program.

## Slide 2
Validate correct incident energy for run N15532
Binning range 166 meV
Correct Ei = 201.2meV, so that DEi = -0.007 where:
Chopper peak around 201.2 meV

## Slide 3
Validate correct incident energy for run N15532; convert to angle, small angle
Correct Ei = 201.2meV, so that DEi = -0.007 where: