## Slide 1: Monitors signal, vanadium run N16153
*** Using calculated value : 14.71
of absolute units correction factor (TGP)
645ms
1270 ms

## Slide 2
Validate correct incident energy for mono-vanadium run N16153
Binning range 1250 meV
Correct Ei = 1348, so that DEi = -0.56 where:
Chopper peak around 1350 meV