## Slide 1: Detector’s vanadium
22mEv
Monitors-1,2
dE = 800
Monitors-1,2
dE = 200
Using -cached- value : 42.9 of absolute units correction factor (TGP)

## Slide 2
EI from TOF on monitors
843ms
844ms -- integration
1662ms
1662ms -- integration

## Slide 3
Validate correct incident energy using Vanadium run N11014
Binning range up to 726
When Ei = 788, DEi =36.7
Chopper peak around 800meV..

## Slide 4
Chopper peak around 195meV. Calibration (Tube delays) necessary. Histogram mode, poor energy accuracy
Binning range 158 meV
When Ei = 195, DEi = -0.26
*** Using calculated value : 4.563024378055734 of absolute units correction factor (TGP)