## Slide 1: Monitors signal, run N15835
1676.5
3302
1677 using integration
3301 using integration

## Slide 2
Validate correct incident energy for mono-vanadium run N15532
Binning range 162 meV
166meV if Ei=201
Correct Ei = 201, so that DEi = -0.55 where:
Chopper peak around 201meV
Integration from -5 to 5 gives DEi=-0.2meV (overlapping
Solid line)

## Slide 3
Validate correct incident energy for mono-vanadium run N15532, use rings
Ei = 201, DEi = -0.6 integration +-10meV;
DEi = -0.2 integration +-6meV, 20 low angle spectra (overlapping picture)

## Slide 4: Error in TOF to error in Ei:

## Slide 5
Ei from Fe elastic line position in TOF:
Selection of spectra at 6.02+-0.002m
2931
2931.(5-8) – integration (symmetric or hw)

## Slide 6
Ei from Fe elastic line position in TOF:
Selection of spectra at 6.0+-0.002m
2927
2928; 2929 – integration (symmetric or hw)
Calibration is necessary – either align elastic line or extract detector’s delay time